| PWS Name: |  |  |  | PWS ID #: | 41 |
| --- | --- | --- | --- | --- | --- |
|  |  |  | Name | Telephone # |  |
| Operator in Direct Responsible Charge |  |  |  | - - |  |
| Person(s) that collected samples if different than above |  |  |  | - - |  |
| Date of Investigation: |  | MM/DD/YYYY |  |  |  |

INVESTIGATION DETAILS

| Did any of the following events occur prior to collection of the positive total coliform samples? | Yes/No | N/A | If Yes, describe issue |
| --- | --- | --- | --- |
| 1. Loss of pressure anywhere in the system | Y N |  |  |
| 2. Maintenance on the system that could have introduced contamination | Y N |  |  |
| 3. Repair of broken water lines | Y N |  |  |
| 4. New water lines or service connections added to the system | Y N |  |  |
| 5. Vandalism or unauthorized access to facilities | Y N |  |  |
| 6. Water line flushing or fire fighting event | Y N |  |  |
| 7. Low chlorine or chloramine residual anywhere in the system | Y N |  |  |
| 8. Failure of chlorination/UV equipment or minimums not met | Y N |  |  |
| 9. New or different source of water introduced (example: backup well) | Y N |  |  |
| 10. Loss of electrical power | Y N |  |  |
| 11. Unprotected connection to non-potable water discovered (example: private well, irrigation line, fire sprinkler system) | Y N |  |  |
| 12. Failure to test all backflow prevention devices within the last year | Y N |  |  |
| 13. Discovery of water system components submerged in water (example: well or valves in a flooded vault) | Y N |  |  |
| Wells & Springs - Inspect each groundwater source for physical defects and report: | Yes/No | N/A | If Yes, describe issue |
| 1. Cracks or holes in well seal or casing | Y N |  |  |
| 2. Repair/replacement of well/spring components (example: well pump) | Y N |  |  |
| 3. Wellhead flooded or water puddled near well | Y N |  |  |
| 4. Screen for well vent missing or damaged | Y N |  |  |
| 5. Feces, fecal source or other unsanitary conditions at the well/spring | Y N |  |  |
| 6. Leaking sewer lines or septic tanks near well/spring | Y N |  |  |
| 7. Cracks or holes in springbox | Y N |  |  |
| 8. Water flowing or puddled on the ground around springbox | Y N |  |  |

| Storage Tanks - Inspect each storage tank for physical defects and report: | Yes/No | N/A | If Yes, describe issue |
| --- | --- | --- | --- |
| 1. Vent screens missing or damaged | Y N |  |  |
| 2. Roof access hatch or other openings poorly or not sealed | Y N |  |  |
| 3. Screen or flap valve on overflow pipe outlet missing or damaged | Y N |  |  |
| 4. Tank in poor condition | Y N |  |  |
| 5. Tank has not been cleaned in recent memory | Y N |  |  |
| 6. Presence of contamination in tank (example: dead animals, insects) | Y N |  |  |
| 7. Recent maintenance or work done on the tank | Y N |  |  |
| Sampling Protocol - Review and report: | Yes/No | N/A | If Yes, describe issue |
| 1. Tap flushed for less than 3 minutes | Y N |  |  |
| 2. Aerator, screen, hose, or other attachment present during sampling | Y N |  |  |
| 3. Leaky or swivel faucet used | Y N |  |  |
| 4. Samples not kept cool during storage/transportation | Y N |  |  |
| 5. Inside of bottle/lid touched or lid set down | Y N |  |  |
| 6. Heavy rainfall or wind at time of sampling | Y N |  |  |
| 7. Sampled at site not on sampling plan or at a previously unused site | Y N |  |  |
| 8. Other sampling problems | Y N |  |  |
| Other | Yes/No |  | If Yes, describe issue |
| Any other issues/problems/sources of contamination that may have caused the positive coliform result | Y N |  |  |

SUMMARY:  Based on the results of your investigation and any other available information, what do you believe to be the cause(s) of the positive total coliform sample(s) from your water system? (Do not leave blank)

CORRECTIVE ACTIONS:  What actions have you taken to correct the above mentioned issue(s)? If additional time is needed to correct a deficiency, indicate the date that it will be corrected. (Do not leave blank)

CERTIFICATION:  I certify that the information submitted in response to the questions above is accurate to the best of my knowledge.

NAME: 		     						TITLE:		     					DATE: MM/DD/YYYY

Additional comments: